Krydsreferenceliste fra ISO 17034:2016 til laboratoriets ledelsessystem

Krydsreferencelisten indeholder ikke den fulde tekst for krav i DS/EN ISO 17034:2016, og det er derfor vigtigt, at den anvendes sammen med standarden ved udfyldelse af referencer.

| Afsnit i DS/EN ISO/IEC 17034:2016 | Reference udfyldes af laboratoriet | Til DANAK’s brug |
| --- | --- | --- |
| 4 | Generelle krav |  |  |
| 4.1 | Contractual matters |  |  |
| 4.1.1 | Requests, tenders and contracts. Requirements, capability and resources |  |  |
| 4.1.2 New | Review shall include subcontracted tasks |  |  |
| 4.1.3 | Maintain records of reviews, including changes. |  |  |
| 4.2 | Impartiality |  |  |
| 4.2.1 New | Safeguard impartiality. |  |  |
| 4.2.2 New (b og c) | a) freedom from internal and external pressures b) identify risks, c) elimination of risk d) Management commitment |  |  |
| 4.3 | Confidentiality |  |  |
| 4.3.1 | Responsible for information obtained. Keep information confidential. |  |  |
| 4.3.2 New | Release of confidential information |  |  |
| 5 | Structural requirements |  |  |
| 5.1 | Legal entity or a defined part thereof. |  |  |
| 5.2 | Organized to meet all applicable requirements. |  |  |
| 5.3 New (b og g) | The RMP shall a) to g). |  |  |
| 5.4 New | Management shall ensure: a) internal and external communication mechanisms b) communication regarding the management system c) communicate importance of meeting customer and other requirements |  |  |
| 6 | Resource requirements |  |  |
| 6.1 | Personnel |  |  |
| 6.1.1 | Ensure supervision and competence of personnel. |  |  |
| 6.1.2 | Personnel, subcontractors etc. shall keep information confidential. |  |  |
| 6.1.3 | Ensure the competence of all personnel |  |  |
| 6.1.4 | Procedures for identifying training needs and providing training of personnel. |  |  |
| 6.1.5 | Maintain records of job descriptions for personnel. |  |  |
| 6.1.6 | Authorize personnel to particular activities. Maintain records of authorizations, competence, educational and professional qualifications. |  |  |
| 6.2 | Subcontracting |  |  |
| 6.2.1 New | Procedures to ensure subcontractors’ experience and technical competence. |  |  |
| 6.2.2 | Selection of subcontractors who meet the requirements. |  |  |
| 6.2.3 | RMPs shall not subcontract: - production planning - selection of subcontractors - assignment of property values and uncertainties - authorization of property values and uncertainties - authorization of RM documents. |  |  |
| 6.2.4 | Establish and maintain procedures to assess subcontractors. |  |  |
| 6.2.5 | Evidence of the subcontractor’s competence shall be established. |  |  |
| 6.2.6 | Evaluate the competence of the subcontractor or supervise the operations carried out. |  |  |
| 6.2.7 | Results and descriptions of procedures used by subcontractors available for evaluation. |  |  |
| 6.2.8 New | Have personnel having knowledge to evaluate the subcontractor’s activity. |  |  |
| 6.3 | Provision of equipment services and supplies |  |  |
| 6.3.1 | Procedures for the selection of equipment, services and supplies. |  |  |
| 6.3.2 | Shall use only equipment, services and supplies that comply with specified requirements. |  |  |
| 6.3.3 | Ensure that equipment and consumable materials are not used until inspected, calibrated or otherwise verified to comply with the specifications. |  |  |
| 6.3.4 | Maintain records of purchases, including selection criteria, confirmation of acceptance, and commissioning data. |  |  |
| 6.4 | Facilities and environmental conditions |  |  |
| 6.4.1 | Ensure that all facilities are such as to facilitate handling, storage, processing and packaging, as well as proper performance of calibration and testing activities. |  |  |
| 6.4.2 | Environmental conditions shall be monitored, and controlled and recorded. |  |  |
| 6.4.3 | Processing and calibration and testing areas shall be protected from other environmental factors. |  |  |
| 6.4.4 New | Access to and use of areas shall be controlled. |  |  |
| 7 | Technical and production requirements |  |  |
| 7.1 New | Address requirements in this clause |  |  |
| 7.2 | Production planning |  |  |
| 7.2.1 | Identify and plan processes. Document production plan. |  |  |
| 7.2.2 | Technical input of subcontractors shall be specified, documented and reviewed. |  |  |
| 7.2.3 New (b, h, i) | During planning a) to u) shall be addressed. |  |  |
| 7.2.4 | By verification ensure that information remains applicable for new batch (see 7.2.3). |  |  |
| 7.3 | Production control |  |  |
| 7.3 New | Verify implementation of production. Document and approve deviations from the plan. |  |  |
| 7.4 | Material handling and storage |  |  |
| 7.4.1 | Make arrangements to ensure the integrity. Precautions against adverse environmental influences (see 6.4) and contamination. |  |  |
| 7.4.2 | Identify, preserve and separate candidate RMs and RMs from chemicals and other samples. |  |  |
| 7.4.3 | Ensure adequate packaging of all RMs and provide secure storage. |  |  |
| 7.4.4 | Condition of all RMs throughout the storage period |  |  |
| 7.4.5 New | Control packaging and labelling processes to ensure safety and transport requirements. Procedures for transport. |  |  |
| 7.4.6 | Ensure integrity of each individual RM unit. |  |  |
| 7.5 | Material processing |  |  |
| 7.5.1 | Procedures to ensure adequate processing for its intended use. Procedures for material processing shall address a) to i). |  |  |
| 7.5.2 New | Equipment operated in accordance with procedures. |  |  |
| 7.6 | Measurement procedures |  |  |
| 7.6 | See checklist for ISO 17025 |  |  |
| 7.7 | Measuring equipment |  |  |
| 7.7 | See checklist for ISO 17025 |  |  |
| 7.8 | Data integrity and evaluation |  |  |
| 7.8.1 | Ensure that all calculations and data transfers are checked. |  |  |
| 7.8.2 | Ensure that: a) computer software is validated and adequate b) procedures for the integrity of data c) equipment and software are maintained d) appropriate procedures for data security |  |  |
| 7.8.3 New | Statistical procedures shall be appropriate. |  |  |
| 7.9 | Metrological traceability of certified values |  |  |
| 7.9.1 New | The metrological traceability in compliance ISO/IEC 17025. Provide evidence to a stated reference. |  |  |
| 7.9.2 | The stated reference shall be a definition of a measurement unit. |  |  |
| 7.9.3 New | If possible demonstrate that the stated reference is traceability to SI Units. |  |  |
| 7.9.4 New | Where traceability to the SI units is not possible, demonstrate metrological traceability to reference (see ISO/IEC 17025). |  |  |
| 7.9.5 New | If values need to be traceable to a higher order reference system ensure measurements calibrated with metrologically traceable values. |  |  |
| 7.9.6 New | Secondary parameters shall have evidence of metrological traceability. |  |  |
| 7.10 | Assessment of homogeneity |  |  |
| 7.10.1 New (note 1) | Assessment of the homogeneity of RM in its final packaged form. |  |  |
| 7.10.2 | In multiple batches, demonstrate equivalence of the batches or evaluate the homogeneity of each batch. |  |  |
| 7.10.3 New | Validated measurement procedures shall be selected. |  |  |
| 7.10.4 New | Determine the homogeneity for every property unless close association |  |  |
| 7.10.5 | For certified values, homogeneity shall be quantified or shown to be a negligible contribution. |  |  |
| 7.11 | Assessment of monitoring of stability |  |  |
| 7.11.1 New | Regarding monitoring stability he RMP shall a)-f). |  |  |
| 7.11.2 | Experimental assessment of stability before release unless… |  |  |
| 7.11.3 | Verify stability in multiple batches. |  |  |
| 7.12 | Characterization |  |  |
| 7.12.1 New | Where the RMP assigns property values, characterization of the RM is required. |  |  |
| 7.12.2 New | The RMP shall clearly define whether a quantitative or a qualitative property will be characterized. |  |  |
| 7.12.3 New | The RMP shall select a characterization strategy. |  |  |
| 7.12.4 New | The RMP shall specify the characterization study. The RMP shall: a) document a measurement plan b) demonstrate the competence of laboratories |  |  |
| 7.12.5 New | The RMP shall perform a technical evaluation of the data and documents involved in characterization. |  |  |
| 7.13 | Assignment of property values and their uncertainties |  |  |
| 7.13.1 | The RMP shall use documented procedures for the assignment of property values. |  |  |
| 7.13.2 | These procedures shall include a) to e). |  |  |
| 7.13.3 New | The RMP shall take account of technical information on test methods and equipment. |  |  |
| 7.13.4 | Outliers shall not be excluded solely on statistical evidence. Robust statistical methods may be applied. |  |  |
| 7.13.5 New | For certified values, the RMP shall identify the uncertainty contributions to be included in the assigned uncertainty. |  |  |
| 7.13.6 New | For certified values, the RMP shall consider uncertainty contributions of characterization, inhomogeneity, storage, transport. |  |  |
| 7.14 | RM documents and labels |  |  |
| 7.14.1 | The RMP shall issue RM certificate and product information sheet. |  |  |
| 7.14.2 New | The contents of RM certificates and product information sheets shall include a) to l). |  |  |
| 7.14.3 New | RM certificates shall contain description, property, measurement procedure. |  |  |
| 7.14.4 | Property of the RM label. |  |  |
| 7.14.5 | Information included elsewhere. |  |  |
| 7.15 | Distribution service |  |  |
| 7.15.1 New (notes) | The distribution process shall be specified. |  |  |
| 7.15.2 | The RMP shall maintain up-to-date records of all RM sales and distribution. |  |  |
| 7.15.3 | The RMP shall offer to user’s reasonable guidance and technical support. |  |  |
| 7.15.4 | The RMP shall employ best efforts to notify users of any change to the property value or uncertainty. |  |  |
| 7.15.5 New (note) | Where RMs are subject to resale through a distributor the RMP shall pass on all necessary information. |  |  |
| 7.16 | Control of quality and technical records |  |  |
| 7.16.1 | The RMP shall establish and maintain procedures for records. |  |  |
| 7.16.2 | The RMP shall ensure information needed in a future dispute. |  |  |
| 7.16.3 | All records shall be legible and readily retrievable and in a suitable environment. Retention time shall be established. |  |  |
| 7.16.4 | Mistakes in records including electronically stored records. |  |  |
| 7.16.5 | All records shall be held securely and in confidence. |  |  |
| 7.16.6 | The RMP shall have procedures to protect electronically held data. |  |  |
| 7.16.7 | The RMP shall arrange for measurement observations, calculations and derived data, calibration records and preparation reports to be retained for a defined period. |  |  |
| 7.16.8 | The results of each calibration or measurement carried out shall be reported in accordance with ISO/IEC 17025. |  |  |
| 7.17 | Management of non-conforming work |  |  |
| 7.17.1 | The RMP shall have procedures for non-conforming work. |  |  |
| 7.17.2 New (h) | The procedures shall ensure a) to h). |  |  |
| 7.17.3 | The decision on recall of RMs shall be taken in a timely manner. |  |  |
| 7.18 | Complaints |  |  |
| 7.18.1 | The RMP shall have a documented process on complaints. |  |  |
| 7.18.2 New | A description of the handling process shall be available on request. |  |  |
| 7.18.3 New | Upon receipt of a complaint, the RMP shall confirm and deal with it. |  |  |
| 7.18.4 New | The RMP shall be responsible for all decisions of the handling process. |  |  |
| 7.18.5 New | Investigation and decision shall not result in any discriminatory actions. |  |  |
| 7.18.6 New | The process for handling complaints shall include a) to c). |  |  |
| 7.18.7 New | The RMP receiving the complaint shall gather and verify all information. |  |  |
| 7.18.8 New | The RMP shall acknowledge receipt, provide progress reports and the outcome. |  |  |
| 7.18.9 New | The decision to be communicated shall be made by individual(s) not involved in the original RM activities. |  |  |
| 7.18.10 New | Whenever possible, the RMP shall give formal notice of the end. |  |  |
| 8 | Management system requirements (option A) |  |  |
| 8.1.2.1 | The RMP shall implement a management system. |  |  |
| 8.1.2.2 | The RMP shall define its scope of activities. |  |  |
| 8.2 | Quality policy |  |  |
| 8.2.1 | The RMP shall define and document its policy, objectives and commitment for all activities. |  |  |
| 8.2.2 | The RMP’s management system shall be documented under the authority of the top management. |  |  |
| 8.2.3 | The quality policy shall include the following commitments: a) to produce RMs which conform to this standard b) to conduct all testing and calibration in compliance with ISO/IEC 17025 c) to require that all personnel familiarize themselves with the quality documentation d) for the management to continually improve the effectiveness of the management system |  |  |
| 8.2.4 | The overall objectives shall be reviewed during the management review. |  |  |
| 8.3 | General management system documentation |  |  |
| 8.3 | The RMP shall document all of its management system and this shall be communicated to all personnel. |  |  |
| 8.4 | Control of management system documents |  |  |
| 8.4.1 | The RMP shall control all documents. |  |  |
| 8.4.2 | The RMP shall ensure a) to f). |  |  |
| 8.5 | Control of records |  |  |
| 8.5.1 | The RMP shall establish procedures for control of records. |  |  |
| 8.5.2 | Procedures for retention of records shall be consistent with contractual and legal obligations. Access to records shall be consistent with confidentiality arrangements. |  |  |
| 8.6 | Management review |  |  |
| 8.6.1 | The RMP shall plan and periodically conduct a review of its management system and production processes. |  |  |
| 8.6.2 | Findings and actions from management reviews shall be recorded and discharged within an appropriate and agreed timescale. |  |  |
| 8.7 | Internal audits |  |  |
| 8.7.1 | The RMP shall plan and conduct internal audits. The internal audit program shall address all elements of the management system. Audits shall be carried out by trained and qualified personnel. |  |  |
| 8.7.2 | When audit findings cast doubt on the effectiveness of the operations, the RMP shall take timely corrective actions and shall notify, its customers whose activities may have been adversely affected. |  |  |
| 8.7.3 | All audit findings and corrective actions shall be recorded. Ensure actions within timescale. |  |  |
| 8.7.4 | Follow-up activities shall verify and record the implementation and effectiveness. |  |  |
| 8.8 | Actions to address risks and opportunities |  |  |
| 8.8.1 New | The RMP shall consider the risks and opportunities to a) to d). |  |  |
| 8.8.2 New | The organization shall take actions to a) to c). |  |  |
| 8.8.3 New | Actions taken shall be proportionate. |  |  |
| 8.9 | Corrective actions |  |  |
| 8.9.1 | The RMP shall establish a policy and procedure(s) for implementing corrective actions. |  |  |
| 8.9.2 | Corrective action procedures shall identify the root causes. The investigation shall be in-house and work by subcontractors. |  |  |
| 8.9.3.1 | The RMP shall identify potential corrective actions. |  |  |
| 8.9.3.2 | Any corrective action taken shall be appropriate to the magnitude. |  |  |
| 8.9.3.3 | The RMP shall document and implement any required changes. |  |  |
| 8.9.4 | The RMP shall monitor the results. |  |  |
| 8.9.5 | When doubt on the RMP’s compliance the appropriate areas of activity shall be audited. |  |  |
| 8.10 | Improvement |  |  |
| 8.10.1 | The RMP shall continually improve the effectiveness of its management system. |  |  |
| 8.10.2 | Required improvements and potential sources of non-conformities shall be identified. Use of action plans. |  |  |
| 8.10.3 | After the implementation of the improvement, the RMP shall monitor the results. |  |  |
| 8.11 | Feedback from customers |  |  |
| 8.11 | The RMP shall seek feedback from its customers. |  |  |