Check list concerning:

Application no. xxx/Accreditation no. xxx

Surveillance/Re-assessment/Accreditation/Modification visit

###### Contents

Referring to sections of EN ISO/IEC 17025:2005		Page

#### 4.	Management requirements

4.1	Organization	2

4.2	Management system	2

4.3	Document control	3

4.4	Review of requests, tenders and contracts	4

4.5	Subcontracting of tests and calibrations	3

4.6	Purchasing services and supplies	4

4.7	Service to the costumer	4

4.8	Complaints	4

4.9	Control of nonconforming testing and/or calibration work	4

4.10	Improvement	5

4.11	Corrective actions	5

4.12	Preventive actions	5

4.13	Control of records	5

4.14	Internal audits	6

4.15	Management reviews	6

5.	Technical requirements

5.2	Personnel	7

5.3	Accommodation and environmental conditions	7

5.4	Test and calibration methods and method validation	7

5.4.6	Estimation of uncertainty of measurement	8

5.4.7	Control of data	8

5.5	Equipment	8

5.6	Measurement traceability	9

5.6.3	Reference standards and reference materials	9

5.7	Sampling	9

5.8	Handling of test and calibration items	9

5.9	Assuring the quality of test and calibration items	10

5.10	Reporting the results	10

5.10.3	Test reports	10

5.10.4	Calibration certificates	11

5.10.5-9	Further requirements to reports and certificates	11

### 4.	 Management requirements

4.1 	 Organization

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.1.1 | Legally responsible entity |  |  |
| 4.1.2 | The laboratory’s responsibility to carry out testing and calibration according to ISO 17025 |  |  |
| 4.1.3 | Permanent and mobile facilities covered by the laboratory management system |  |  |
| 4.1.4 | Responsibilities of key personnel if the laboratory is part of an organization performing other activities than testing/calibration |  |  |
| 4.1.5 | Requirements to organization: |  |  |
| a | Managerial and technical personnel with authority and resources to carry out duties and to identify departures |  |  |
| b | Management and personnel free from undue internal and external pressures and influences |  |  |
| c | Policies and procedures to protect the clients confiden-tial information and proprietary rights, including proce-dures for electronic storage and transmission of results |  |  |
| d | Policies and procedures to avoid the involvement in activities that would diminish confidence in the laboratory’s competence, impartiality, independence |  |  |
| e | Definition of the organization and management structure |  |  |
| f | Specification of responsibility and authority for all relevant personnel |  |  |
| g | Adequate supervision of testing and calibration staff |  |  |
| h | Technical management with overall responsibility |  |  |
| i | Quality manager and reference to management making decisions on the laboratory’s policy or resources |  |  |
| j | Appointed deputies for key managerial personnel |  |  |
| k | Personnel aware of relevance and importance of their activities and contribution to the achievement of the objectives of the management system |  |  |
| 4.1.6 | Top management ensures communication processes Communication takes place regarding the effectiveness of the management system |  |  |

4.2	 Management system

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.2.1 | Quality system appropriate and implemented |  |  |
|  | Documented quality policy |  |  |
|  | Procedures and instructions to the extent necessary |  |  |
|  | System documentation available to staff |  |  |
| 4.2.2 | The laboratory’s management system policies related to quality shall be defined in a quality manual .The objectives shall be issued under the authority of top management. It shall include at least the following: |  |  |
| a | Laboratory management’s commitment |  |  |
| b | The managements statement of the laboratory’s standard of service |  |  |
| c | The purpose of the management system related to quality |  |  |
| d | A requirement that the staff implement the policy and procedures in their work |  |  |
| e | The management’s commitment to comply with DS/EN ISO/IEC 17025:2005. Improvement of the effectiveness of the management system |  |  |
| 4.2.3 | Top management shall provide evidence of commitment to the development and implementation of the management system.Improvment ofits effectiveness |  |  |
| 4.2.4 | Top management communicates to the organization the importance of meeting customer, statutory and regulatory requirements |  |  |
| 4.2.5 | Supporting procedures included or make reference to in QM. Outlining structure of documentation in the management system |  |  |
| 4.2.6 | Definition of the roles and responsiblities of technical management and the quality manager, including their responsibility for ensuring compliance with DS/EN ISO/IEC 17025:2005 in QM . |  |  |
| 4.2.7 | Maintaining ensurance of integrity of the management system by Top management when changes to the management system are planned and implemented |  |  |

4.3	 Document control

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.3.1 | Procedures to control all documents (internal and external) of the quality system |  |  |
|  | Regulations |  |  |
|  | Standards |  |  |
|  | Normative documents |  |  |
|  | Test and/or calibration methods |  |  |
|  | Further instructions, manuals, drawings, software and specifications |  |  |

4.3.2	 Document approval and issue

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.3.2.1 | Approval of all documents by authorized persons - establishment and availability of a masterlist/procedure for document control identifying status and distribution |  |  |
| 4.3.2.2 | The procedure(s) shall ensure: |  |  |
| a | Availability of relevant documents |  |  |
| b | Periodically review and revision of documents |  |  |
| c + d | Removal of invalid documents and suitable marking of retained obsolete documents |  |  |
| 4.3.2.3 | Unique identification of documents including date/revision, page numbering and responsible |  |  |
| 4.3.3.1 | Document changes approved by authorized personnel |  |  |
| 4.3.3.2 | Identification of altered or new text if possible |  |  |
| 4.3.3.3 | Procedure for amendment of documents by hand, if permitted |  |  |
| 4.3.3.4 | Procedure for changing and control of documents maintained in computerized systems |  |  |

4.4	 Review of requests, tenders and contracts

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.4.1 | Procedures for review of requests, tenders and contracts shall ensure: |  |  |
| a | Definition of requirements, including methods |  |  |
| b | That the laboratory has the capability and resources to meet the requirements |  |  |
| c | Appropriate test and/or calibration method |  |  |
| 4.4.2 | Records of reviews, including changes of contract with client |  |  |
| 4.4.3 | Subcontracted works covered by the review |  |  |
| 4.4.4 + 4.4.5 | Same review of amended contracts |  |  |

4.5	 Subcontracting of tests and calibrations

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.5.1 | Competent subcontractor, e.g. complying with ISO 17025 |  |  |
| 4.5.2 | Advise of client in writing, and approval from client |  |  |
| 4.5.3 | The laboratory’s responsibility to the client - unless the subcontractor is specified by client or authority |  |  |
| 4.5.4 | Register of subcontractors |  |  |

4.6	 Purchasing services and supplies

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.6.1 | Policy and procedures for purchasing of services and supplies, affecting the quality of tests and calibrations |  |  |
|  | Procedure for purchasing of reagents and consumable materials, relevant for tests and calibrations |  |  |
| 4.6.2 | Inspection of purchased supplies and reagents - records of actions to check of compliance |  |  |
| 4.6.3 | Content of purchasing documents - review and approval |  |  |
| 4.6.4 | The laboratory’s evaluation of suppliers of critical consumables and recording of this evaluation |  |  |

4.7	 Service to the customer

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.7.1 | Cooperation with the customers or their representatives in clarifying the customer’s request and in monitoring the laboratory’s performance in relation to the work perfomed, provided that the laboratory ensures confidentiality to other customers. |  |  |
| 4.7.2. | The laboratory shall seek feedback, both positive and negative, from its customers. Feedback shall be used and analysed to improve the management system, testing and calibration activities and customer service. |  |  |

4.8	 Complaints

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.8 | Policy and procedure for resolution of complaints |  |  |
|  | Records of complaints, investigations and corrective actions |  |  |

4.9	 Control of nonconforming testing and/or calibration work

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.9.1 | Policy and procedures for nonconforming testing and/or calibration work |  |  |
| a + e | Responsibilities and authorities for management of nonconforming work |  |  |
| b | Evaluation of the significance of the deviation |  |  |
| c | Correction taken immediately, together with any decision about the acceptability of the nonconforming work. |  |  |
| d | Notification of client and recalling of work, where necessary |  |  |
| 4.9.2 | Implementation of corrective actions according to 4.10, if necessary |  |  |

4.10	 Improvement

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.10 | Continuously improvement of the effectiveness of management system through the use of the quality policy, quality objectives, audit results, analysis of data, corrective and preventive actions and management review. |  |  |

4.11	 Corrective actions

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.11.1 | Policy and procedures for corrective actions |  |  |
| 4.11.2 | Cause analysis |  |  |
| 4.11.3 | Selection and implementation of corrective actions - appropriate to the magnitude and risk of the problem |  |  |
| 4.11.4 | Monitoring of results of corrective actions |  |  |
| 4.11.5 | Additional audit if relevant |  |  |

4.12	 Preventive actions

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.12.1 | Identification of improvements and potential sources technical or concerning the management system. Improvement opportunities identified preventive action required develop action plans |  |  |
| 4.12.2 | Procedures for preventive actions and control to ensure efficiency |  |  |

4.13	 Control of records

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.13.1 | General |  |  |
| 4.13.1.1 | Procedures for identification, collection, indexing, access, filing, storage, maintenance and disposal of quality and technical records |  |  |
| 4.13.1.2 | Legibility and retrivability of records - suitable retaining of documents - retention times of records |  |  |
| 4.13.1.3 | Records held secure and in confidence |  |  |
| 4.13.1.4 | Procedures to protect and back-up of electronically stored records |  |  |
| 4.13.2 | Technical records |  |  |
| 4.13.2.1 | Records of original observations, derived data and sufficient information to establish an audit trail - copy of reports/certificates - identification of factors affecting the uncertainty - identity of personnel |  |  |
| 4.13.2.2 | Records identifiable to the specific task |  |  |
| 4.13.2.3 | Signing of alterations to records - similar to electronically stored records |  |  |

4.14	 Internal audits

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.14.1 | Procedure and time schedule for internal audit - the quality manager’s responsibility |  |  |
|  | Trained and qualified audit personnel |  |  |
| 4.14.2 | Corrective actions - notifying clients if results are affected |  |  |
| 4.14.3 | Recording of audits and corrective actions |  |  |
| 4.14.4 | Follow-up audits to verify effectiveness of corrective actions |  |  |

4.15	 Management reviews

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 4.15.1 | Procedure and time schedule for review |  |  |
|  | Suitability of policy and procedures |  |  |
|  | Reports from managerial and supervisory personnel |  |  |
|  | Outcome of recent internal audits |  |  |
|  | Corrective and preventive actions |  |  |
|  | Assessment by external bodies |  |  |
|  | Results of interlaboratory comparisons or proficiency tests |  |  |
|  | Changes in volume and type of the work |  |  |
|  | Customer feedback |  |  |
|  | Complaints |  |  |
|  | Other relevant factors, e.g. quality control activities, resources and staff training |  |  |
| 4.15.2 | Records of evaluations and actions - time scale for actions |  |  |

### 5.	Technical requirements

5.2	 Personnel

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.2.1 | Ensuring of competence of testing/calibrating personnel, of personnel who operate specific equipment, evaluate results or sign reports/certificates |  |  |
|  | Supervision of personnel undergoing training |  |  |
| 5.2.2 | Policy and procedure for identifying training needs and providing training |  |  |
| 5.2.3 | Personnel employed or under contract - personnel under contract competent, supervised and working in accordance with the quality system |  |  |
| 5.2.4 | Job descriptions maintained for managerial, technical and key support personnel |  |  |
| 5.2.5 | Authorization of personnel to specific tasks, and recor-ding of authorizations, including date of confirmation |  |  |

5.3	 Accomodations and environmental conditions

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.3.1 | Laboratory facilities ensuring correct performance of tests/calibrations - including sampling and onsite testing/calibration |  |  |
| 5.3.2 | Monitoring, controlling and recording of environment-al conditions if required - biological sterility, dust, electromagnetic disturbancies, radiation, humidity, electrical supply, temperature, and sound- and vibration levels |  |  |
| 5.3.3 | Effective separation between neighbouring areas with incompatible activities |  |  |
| 5.3.4 | Control of access to and use of laboratory areas |  |  |
| 5.3.5 | Measures to ensuring good housekeeping |  |  |

  - Test and calibration methods and method validation

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.4.1 | Use of appropriate methods for all tests/calibrations, including sampling, handling, transport, storage and preparation of items – for estimation of uncertainty and analysis of testing/calibration data |  |  |
|  | Instructions for use and operation of equipment |  |  |
|  | Instruktions for handling and preparation of items |  |  |
|  | Updating and availability of relevant instructions |  |  |
| 5.4.2 | Selection of methods |  |  |
|  | Use of standard methods – supplemented with details to ensure consistent application |  |  |
|  | Confirmation of properly operated standard methods |  |  |
|  | Information to client if proposed methods are inappropriate or out of date |  |  |
| 5.4.3 | Plan for introduction of laboratory-developed methods – qualified personnel with adequate resources |  |  |
| 5.4.4 | Non-standard methods – the client’s agreement and specification of the client’s requirements |  |  |
| 5.4.5.1 | Validation is the confirmation by examination and the provision of objective evidence that the particular requirements for a specific intended use are fultilled |  |  |
| 5.4.5.2 | Validation of non-standard methods, methods, laboratory-designed/developed methods, standard methods used outside their scope |  |  |
|  | Recording of validation results, procedure and a statement on fitness for use |  |  |
| 5.4.5.3 | Result of validation relevant to the client’s needs - uncertainty, detection limit, selectivity, linearity, limit of repeatabelity, limit of repeatability and/or reproducibility, robustness and/or cross reproducibility |  |  |

5.4.6	 Estimation of uncertainty of measurement

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.4.6.1 EA-4/02 | Procedure to estimate uncertainty for all calibrations performed by the laboratory |  |  |
| 5.4.6.2 DANAKGuide11 | Procedure to estimate uncertainty for a testing laboratory - all components |  |  |
| 5.4.6.3 EA-4/02 Guide11 | Estimation of uncertainty - analysis of all components of importance |  |  |

5.4.7	 Control of data

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.4.7.1 | Systematic and appropriate checks of calculations and data transfer |  |  |
| 5.4.7.2 | Ensuring, when computers or automatic equipment is used: |  |  |
| a | Documentation and validation of computer software |  |  |
| b | Implementation of a procedure for protection of data |  |  |
| c | Maintenance of computers and automatic equipment to ensure proper functioning |  |  |

5.5	 Equipment

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.5.1 | The laboratory’s disposal equipment necessary for correct performance of tests/calibrations |  |  |
|  | Ensuring compliance with ISO 17025 of equipment outside the laboratory’s permanent control |  |  |
| 5.5.2 | Calibration programmes for all relevant equipment - compliance with the specifications/uncertainty |  |  |
|  | Calibration or check of equipment before use - the laboratory’s specification requirements |  |  |
| 5.5.3 | Operation by authorized personnel - instructions available |  |  |
| 5.5.4 | Unique identification of each equipment/software |  |  |
| 5.5.5 | Recording of equipment including: |  |  |
| a | Identification of equipment |  |  |
| b | Manufacturer, type, and serial number |  |  |
| c | Checks of compliance with specifications |  |  |
| d | Current location, where appropriate |  |  |
| e | Manufacturer’s instruction, or reference to this |  |  |
| f | All information relating to calibration, adjustments, acceptance criteria, and next calibration |  |  |
| g | Maintenance plan, if appropriate, and maintenance carried out |  |  |
| h | Damage, malfunction, modification or repair |  |  |
| 5.5.6 | Procedure for handling, transport, storage, use, and planned maintenance - prevention of contamination |  |  |
| 5.5.7 | Labelling or isolation of defective equipment - examination of the effect on previous tests/calibrations |  |  |
| 5.5.8 | Indication of calibration status - date of recalibration |  |  |
| 5.5.9 | Ensuring correct function and calibration of equipment gone outside the laboratory’s direct control |  |  |
| 5.5.10 | Procedure for possible intermediate checks |  |  |
| 5.5.11 | Procedure for updating of copies of possible calculations of correction factors by calibrations |  |  |
| 5.5.12 | Safeguarding from invalidating adjustments of equipment, hardware and software |  |  |

5.6	 Measurement traceability

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.6.1 | Procedure and program for calibration of equipment of equipment before being put into service |  |  |
| 5.6.2.1 | Specific requirements to calibration laboratories |  |  |
| 5.6.2.1.1 | Traceability by unbroken chain to relevant primary standards of SI units - calibration certificates stating measurement results, including uncertainty and/or a statement of compliance with a metrological specification |  |  |
| 5.6.2.1.2 | Where traceability to SI-unit is not possible - use of reference materials, specified methods and/or consensus standards |  |  |
|  | Participation in interlaboratory comparisons |  |  |
| 5.6.2.2 | Specific requirements to testing laboratories |  |  |
| 5.6.2.2.1 | Requirements of 5.6.2.1.1 shall be complied with, unless the contribution from calibration contributes little to the uncertainty of the measurement result |  |  |
| 5.6.2.2.2 | Where traceability to SI-unit is not possible - use of reference materials, specified methods and/or consensus standards as for calibration laboratories, cf. 5.6.2.1.2 |  |  |

5.6.3	 Reference standards and reference materials

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.6.3.1 | Procedure and program for traceable calibration of reference standards |  |  |
| 5.6.3.2 | Reference materials traceable to SI-units if possible |  |  |
| 5.6.3.3 | Defined procedures and time schedules for checks to maintain calibration status of reference standards and reference materials |  |  |
| 5.6.3.4 | Procedures for handling, transport storage and use of reference standards and reference materials |  |  |

5. 7	 Sampling

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.7.1 | Sampling plan and procedure for sampling |  |  |
| 5.7.2 | Recording of possible deviations from sampling procedure |  |  |
| 5.7.3 | Recording of sampling data and operations - procedure, sampler, environment conditions, location |  |  |

5.8	 Handling of test and calibration items

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.8.1 | Procedure for transport, receipt, handling, protection, storage and/or disposal of items |  |  |
| 5.8.2 | Identification of items, including subdivision of groups of items if relevant |  |  |
| 5.8.3 | Recording of departures from normal or specified conditions - consultation of client, if necessary |  |  |
| 5.8.4 | Procedure and facilities to ensure the condition and integrity of the items |  |  |
|  | Recording of specified environmental conditions |  |  |

5.9	 Assuring the quality of test and calibration results

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.9.1 | Procedure for monitoring the validity of tests and calibrations – recording of data |  |  |
|  | Monitoring may include: |  |  |
| a | Regular use of certified reference materials and/or in-ternal quality control by secondary reference materials |  |  |
| b | Participation in interlaboratory comparisons or proficiency testing programmes |  |  |
| c | Replicate tests or calibrations using same or different methods |  |  |
| d | Retesting or recalibration |  |  |
| e | Correlation of results for different characteristics of an item |  |  |
| 5.9.2 | Analyzing quality control data. Outside pre-defined criteria, planned action shall be taken to correct the problem and to prevent incorrect results from being reported. |  |  |

5.10.1-2	 Reporting of results - General - Test reports and calibration certificates

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.10.1 | Accurate, clear and objective reporting of results in accordance with the specified method |  |  |
| 5.10.2 | Test reports/calibration certificates shall include: |  |  |
| a | Title |  |  |
| b | Name and address of laboratory, possibly location |  |  |
| c | Unique identification of report and each page |  |  |
| d | Name and address of client |  |  |
| e | Method used |  |  |
| f | Unambiguous identification of the test/calibration item and description of condition |  |  |
| g | Date of receipt of item, if relevant, and date of test/calibration |  |  |
| h | Reference to procedures and sampling plan relevant to the validity of the results |  |  |
| i | Test/calibration results |  |  |
| j | Name, function and signature or equivalent identification of person(s) responsible for the report |  |  |
| k | A statement that the results relate only to the items tested/calibrated, if relevant |  |  |

5.10.3	 Test reports

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.10.3.1 | Test reports shall in addition to 5.10.2, if necessary for the interpretation, include: |  |  |
| a | Deviations, including additions or exclusions, form test method, and test conditions |  |  |
| b | A statement of compliance with specifications, where relevant |  |  |
| c | The estimated uncertainty, if relevant |  |  |
| d | Opinions and interpretations, where appropriate |  |  |
| e | Additional information required |  |  |
|  | Additional requirements to reports containing results of sampling |  |  |
| 5.10.3.2 | If sampling is performed, further: |  |  |
| a | Date of sampling |  |  |
| b | Unambiguous identification of the sampled material |  |  |
| c | Location of sampling (diagrams, sketches, photos) |  |  |
| d | Reference to sampling plan and procedure |  |  |
| e | Environmental conditions, if relevant |  |  |
| f | Specification of method, deviations and additions |  |  |

5.10.4	 Calibration certificates

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.10.4.1 | Calibration certificates shall in addition to 5.10.2, if necessary for the interpretation, include: |  |  |
| a | Conditions, e.g. environmental, which may influence the calibration results |  |  |
| b | Uncertainty of measurement and/or statement of com-pliance with an identified metrological specification |  |  |
| c | Evidence of the traceability of measurements |  |  |
| 5.10.4.2 | Declaration of compliance with reference to specification and taking into account uncertainty |  |  |
| 5.10.4.3 | Reporting results before and after calibration if the instrument is adjusted |  |  |
| 5.10.4.4 | Calibration label/interval |  |  |

5.10.5-9	 Additional requirements

|  | DANAK-requirements |  | Remarks |
| --- | --- | --- | --- |
| 5.10.5 | Opinions and interpretations Documentation of the basis for possible opinions and interpretations |  |  |
| 5.10.6 | Testing and calibration results from obtained from subcontractors Identification of results from subcontractors |  |  |
|  | Issue of calibration certificate from subcontractor |  |  |
| 5.10.7 | Electronic transmission of results Compliance with ISO 17025 by electronic transmission of test or calibration results |  |  |
| 5.10.8 | Format of reports and certificates Appropriate design of reports to minimize misunderstandings or misuse |  |  |
| 5.10.9 | Amendments to test reports/calibration certificates Issue of a further document - compliance with ISO 17025 |  |  |